## About
Compliance tracker
Read the good estate management for schools (GEMS) health and safety guidance before using this tool
This tool is a compliance tracker which accompanies the good estate management for schools (GEMS) guidance. This tool aims to provide an example maintenance and testing schedule to support schools in meeting their estate obligations; it is not intended to provide legal advice. This tool covers the health and safety requirements for most schools, although there may be further specific requirements for your buildings. We advise you check that you are following current regulations. Before you start using this tool we recommend that you: • ensure that responsibilities for health and safety related issues are clearly defined and designated • take regular steps such as hazard spotting to identify all health and safety issues, including those not within this tool • take appropriate actions to minimise any avoidable risks • regularly monitor risks and issues, ensuring that the requirements of the law and health and safety executive (HSE) guidance are followed
How to use the compliance tracker
The compliance tracker has three parts: a tracker, contractor details and a workplan. The tool should be adapted for your own circumstances, including adding and deleting requirements, inputting dates and comments. It contains the functionality to store details of health and safety contractors and help you sequence your compliance works. You should fill in information in the cells which are filled blue.
1. Compliance Tracker
The compliance tracker lists the most common statutory and recommended maintenance and inspection requirements for schools so you can record when activity was last completed and when it is due.
Topic | Description
Section | This corresponds to the relevant section of the GEMS guidance.
Area | The area of health and safety, linked to the relevant section of the GEMS guidance.
Requirement | A description of the health and safety requirement
Statutory or recommended | This indicates whether this topic is a statutory requirement or is standard recommended practice.
Frequency | Recommended frequency should be reviewed against school specific risk assessments.
School owner | Use this to identify the person who is responsible for ensuring this work is carried out.
Contractor | This allows you to select a contractor from the details entered In the 'contractor information' tab,
Contractor information | This will automatically populate with details of that contractor, based on the information you put into the 'contractor details' tab.
Date last undertaken | Record the last date this activity was undertaken.
Date due | Record the next due date for this activity
2. Contractor information
Enter details of the contractors, suppliers or professional advisers you use for maintenance, inspections or other health and safety activity. This information can then be accessed using the drop down box on the compliance tracker.
3. Workplan
The 'workplan' tab will show a health and safety workplan based on the information entered into the tracker. It will show the work that is due this month, next month and within the next 6 months, allowing you to schedule your maintenance. Cells will be highlighted in red if work is overdue.
blue.

## Tracker
Compliance tracker
Section | Ref | Area | Requirement | Statutory or Recommended | Frequency | School owner | Contractor (select from drop down) | Contractor information | Date last undertaken | Date due | Date of last certificate
Building Structure and Fabric | 1 | Structural stability | Periodic inspection | Recommended | Termly | Bob | eg Joe Smith Ltd | eg joe.smith@email.co.uk or eg 01234567890 | 2009-09-09 | 2020-09-09 | 2009-09-09
| 2 | Working at height and fall protection | Periodic inspection | Recommended | Termly | Jill | Jim | email@email or 12345678910 | 2020-07-03 | 2020-11-03 | 2020-11-03
| 3 | Slips, trips and falls | Periodic inspection | Recommended | Weekly
| 4 | Glazing | Periodic inspection | Statutory | Weekly
| 5 | Drainage and sewerage | Periodic inspection | Recommended | Termly
| 6 | Asbestos | Review of asbestos register and management plan | Statutory | Annual
Fire Safety | 7 | Alarms | Fire alarm function test | Recommended | Weekly
| 8 |  | Full inspection and test | Recommended | Quarterly
| 9 |  | Annual detailed service and Inspection | Statutory | Annual
| 10 | Fire escape and safety | Fire risk assessment | Recommended | Annual
| 11 | Fire doors | Periodic inspection | Statutory | Termly
| 12 | Fire fighting equipment | Fire extinguisher inspection | Statutory | Annual
| 13 |  | Fire blanket inspection | Statutory | Annual
| 14 |  | Hose Reels Inspection | Statutory | Annual
| 15 |  | Fixed fire suppression systems inspection and test | Statutory | Annual
| 16 | Emergency lighting | Operational test | Recommended | Monthly
| 17 |  | Full inspection and test | Recommended | 6 monthly
| 18 | Signage and exit routes | Periodic inspection | Recommended | Annual
| 19 | Lightning protection | Inspection and testing | Recommended | Annual
Heating, ventilation and water | 20 | Gas installations | Gas safety inspection and servicing | Statutory | Annual
| 21 | Oil heating | Servicing | Recommended | Annual
| 22 |  | Visual check of tanks, bunds and pipework | Recommended | Weekly
| 23 |  | Inspection for damage | Recommended | Annual
| 24 | Other heating equipment (biomass/groundsource/airsource/heat recovery) | Servicing | Recommended | Annual
| 25 | Ventilation | Filter and duct inspection/cleaning | Recommended | Annual
| 26 | Radiators and fan convectors | System inspection and test | Recommended | Termly
| 27 | Hot water temperature | Testing regime | Recommended | Regularly
| 28 | Local exhaust ventilation | Inspection and testing | Statutory | Annual
| 29 | Legionella | Testing, cleaning and risk assessment | Statutory | Annual
| 30 | Air conditioning | Checks and maintenance | Recommended | 6 monthly
Electrical Safety | 31 | Portable appliance testing | Equipment test | Recommended | Annual
| 32 | Fixed electrical supply/installation | Inspection and test | Statutory | 5 Years
| 33 | Lighting | Operational test | Recommended | Termly
External Areas | 34 | Perimeter security | Perimeter inspection | Recommended | Termly
| 35 | Access routes, gates, roadways and parking | Review and inspection | Recommended | Termly
| 36 | Trees | Inspection | Recommended | Annual
| 37 |  | Risk assessment review | Recommended | Annual
| 38 | Radon | Review risk assessment and management arrangements | Recommended | Annual
Other Building Services and Fixed Equipment | 39 | Lifts and lifting equipment | Statutory inspection | Statutory | 6 monthly
| 40 |  | Emergency alarm test | Recommended | Weekly
| 41 | Gym and playground equipment | Inspection | Recommended | Annual
| 42 | Swimming pools and hydrotherapy pools | Inspection and test, water and plant | Recommended | Dependent on type and use
| 43 | Pressure systems | Maintenance and inspection | Recommended | Dependent on type and use
| 44 | Gas cylinders | Inspection | Recommended | Annual
| 45 | Storing hazardous substances | COSHH assessment and review | Recommended | Annual

## Contractor information
Contractor information
Name of contractor | Service Agreement | Contact name | Email | Telephone
eg Joe Smith Ltd | eg structural | eg Joe Smith | eg joe.smith@email.co.uk | eg 01234567890
Jim | building stuff | hellp jim | email@email | 12345678910
Billy | Windows | Billy | Billy@email | 123858394549

## Workplan
[9 empty] | Show overdue |  |  | Health and safety workplan
[12 empty] | This month |  |  | Next month |  |  | Next 6 months |  |  | After 6 months
| Area | Description | Date |  |  |  |  | This Month | Next Month | Next 6 Months | After 6 months | Area | Description | Date | Area | Description | Date | Area | Description | Date | Area | Description | Date
1 | Structural stability | Periodic inspection | 2020-09-09 | TRUE | FALSE | FALSE | FALSE | 1 |  | 2 |  | Structural stability | Periodic inspection | 2020-09-09 |  |  |  | Working at height and fall protection | Periodic inspection | 2020-11-03
2 | Working at height and fall protection | Periodic inspection | 2020-11-03 | FALSE | FALSE | TRUE | FALSE
3 | Slips, trips and falls | Periodic inspection |  | FALSE | FALSE | FALSE | FALSE
4 | Glazing | Periodic inspection |  | FALSE | FALSE | FALSE | FALSE
5 | Drainage and sewerage | Periodic inspection |  | FALSE | FALSE | FALSE | FALSE
6 | Asbestos | Review of asbestos register and management plan |  | FALSE | FALSE | FALSE | FALSE
7 | Alarms | Fire alarm function test |  | FALSE | FALSE | FALSE | FALSE
8 | Alarms | Full inspection and test |  | FALSE | FALSE | FALSE | FALSE
9 | Alarms | Annual detailed service and Inspection |  | FALSE | FALSE | FALSE | FALSE
10 | Fire escape and safety | Fire risk assessment |  | FALSE | FALSE | FALSE | FALSE
11 | Fire doors | Periodic inspection |  | FALSE | FALSE | FALSE | FALSE
12 | Fire fighting equipment | Fire extinguisher inspection |  | FALSE | FALSE | FALSE | FALSE
13 | Fire fighting equipment | Fire blanket inspection |  | FALSE | FALSE | FALSE | FALSE
14 | Fire fighting equipment | Hose Reels Inspection |  | FALSE | FALSE | FALSE | FALSE
15 | Fire fighting equipment | Fixed fire suppression systems inspection and test |  | FALSE | FALSE | FALSE | FALSE
16 | Emergency lighting | Operational test |  | FALSE | FALSE | FALSE | FALSE
17 | Emergency lighting | Full inspection and test |  | FALSE | FALSE | FALSE | FALSE
18 | Signage and exit routes | Periodic inspection |  | FALSE | FALSE | FALSE | FALSE
19 | Lightning protection | Inspection and testing |  | FALSE | FALSE | FALSE | FALSE
20 | Gas installations | Gas safety inspection and servicing |  | FALSE | FALSE | FALSE | FALSE
21 | Oil heating | Servicing |  | FALSE | FALSE | FALSE | FALSE
22 | Oil heating | Visual check of tanks, bunds and pipework |  | FALSE | FALSE | FALSE | FALSE
23 | Oil heating | Inspection for damage |  | FALSE | FALSE | FALSE | FALSE
24 | Other heating equipment (biomass/groundsource/airsource/heat recovery) | Servicing |  | FALSE | FALSE | FALSE | FALSE
25 | Ventilation | Filter and duct inspection/cleaning |  | FALSE | FALSE | FALSE | FALSE
26 | Radiators and fan convectors | System inspection and test |  | FALSE | FALSE | FALSE | FALSE
27 | Hot water temperature | Testing regime |  | FALSE | FALSE | FALSE | FALSE
28 | Local exhaust ventilation | Inspection and testing |  | FALSE | FALSE | FALSE | FALSE
29 | Legionella | Testing, cleaning and risk assessment |  | FALSE | FALSE | FALSE | FALSE
30 | Air conditioning | Checks and maintenance |  | FALSE | FALSE | FALSE | FALSE
31 | Portable appliance testing | Equipment test |  | FALSE | FALSE | FALSE | FALSE
32 | Fixed electrical supply/installation | Inspection and test |  | FALSE | FALSE | FALSE | FALSE
33 | Lighting | Operational test |  | FALSE | FALSE | FALSE | FALSE
34 | Perimeter security | Perimeter inspection |  | FALSE | FALSE | FALSE | FALSE
35 | Access routes, gates, roadways and parking | Review and inspection |  | FALSE | FALSE | FALSE | FALSE
36 | Trees | Inspection |  | FALSE | FALSE | FALSE | FALSE
37 | Trees | Risk assessment review |  | FALSE | FALSE | FALSE | FALSE
38 | Radon | Review risk assessment and management arrangements |  | FALSE | FALSE | FALSE | FALSE
39 | Lifts and lifting equipment | Statutory inspection |  | FALSE | FALSE | FALSE | FALSE
40 | Lifts and lifting equipment | Emergency alarm test |  | FALSE | FALSE | FALSE | FALSE
41 | Gym and playground equipment | Inspection |  | FALSE | FALSE | FALSE | FALSE
42 | Swimming pools and hydrotherapy pools | Inspection and test, water and plant |  | FALSE | FALSE | FALSE | FALSE
43 | Pressure systems | Maintenance and inspection |  | FALSE | FALSE | FALSE | FALSE
44 | Gas cylinders | Inspection |  | FALSE | FALSE | FALSE | FALSE
45 | Storing hazardous substances | COSHH assessment and review |  | FALSE | FALSE | FALSE | FALSE
Formulas:
Date = IFERROR(INDEX(D6:D46,MATCH([This Month],A6:A46,0)),"")
Date = IFERROR(INDEX(D6:D46,MATCH([Next 6 Months],A6:A46,0)),"")